## Slide 1: Introduction to Transformers
Shiladri Chakraborty, Sandeep Anand, Anil Kulkarni, S. Soman
Assistant Professor, EE, IIT Bombay
EE 240, Spring 2024
IIT Bombay

## Slide 2: Agenda
EE 240, Spring 2024 – Introduction to Transformers
x
x
Electromagnetic transformers 

## Slide 3: Agenda
EE 240, Spring 2024 – Introduction to Transformers
What was the motivation behind the origin of transformer technology?
What are the different types of “power” transformers used in power system?
What are some other types of transformers?
    What are high-frequency transformers? Why are they used in power electronics?
    What are instrument transformers?
    What is an impedance matching transformer?
    What is an isolation transformer?
    What are air-core transformers?
What are some future advances in transformer technology
  What are “planar” transformers?
  What is a “solid-state” transformers?

## Slide 4: Transformer operation – recap
EE 240, Spring 2024 – Introduction to Transformers
Vp/Vs = Np/Ns (Faraday’s law)
IpNp = NsIs (Ampere’s law)
Image Source: Wikipedia
“Ideal” transformer eqns. -Not exactly true for practical transformers – why? (relates to today’s experiment)

## Slide 5: History of transformers
EE 240, Spring 2024 – Introduction to Transformers
Source of images: edisontechcenter.org
One of the earliest commercial transformer (developed by William Stanley in 1885) on display at the Berkshire Museum.

## Slide 6: History of transformers
EE 240, Spring 2024 – Introduction to Transformers
Why the transformer gained popularity in the late 1800s?
  In 1880s, the default power transmission was DC
  DC transmission was not very economical – why?
    Low voltage transmission -> higher currents -> more Ohmic losses
    DC voltage could not increased for transmission

## Slide 7: History of transformers
EE 240, Spring 2024 – Introduction to Transformers
Why the transformer gained popularity in the late 1800s?
  Transformers allowed voltage step-up at the power generating station and voltage step-down at the load end -> a major reason propelling adoption of ac power transmission
  Tesla’s invention of the ac induction motor (instead of existing dc motors) helped tip the scale further in favour of ac power transmission
Image Source: iqsdirectory.com

## Slide 8: High-power Transformers
EE 240, Spring 2024 – Introduction to Transformers
Transformers used in power sub-stations

## Slide 9: High-power Transformers
EE 240, Spring 2024 – Introduction to Transformers
Image Source: Wikipedia
“Pole”- mounted distribution transformer

## Slide 10: Three-phase Transformer
EE 240, Spring 2024 – Introduction to Transformers
  Why?

## Slide 11: Three-phase Transformer
EE 240, Spring 2024 – Introduction to Transformers

## Slide 12: High-power Transformer – Name plate
EE 240, Spring 2024 – Introduction to Transformers

## Slide 13: Transformer – Basic construction
EE 240, Spring 2024 – Introduction to Transformers
Core “laminations” – why?

## Slide 14: Transformer – Basic construction
EE 240, Spring 2024 – Introduction to Transformers
Image courtesy : www.siliconsteelstrip.com

## Slide 15: Transformer no-load current
EE 240, Spring 2024 – Introduction to Transformers
“Peaky” no-load current – why?
Secondary open -> “no-load”

## Slide 16: High-frequency transformer
EE 240, Spring 2024 – Introduction to Transformers
Why operate at high frequency? (high-freq. = few kHz to 100s of kHz)
Litz wire (hf winding)
Image courtesy : Rubadue Wire
- Helps reduce “skin effect” and keep winding resistance low

## Slide 17: High-frequency transformer
EE 240, Spring 2024 – Introduction to Transformers
Widely used in many high-frequency power electronic circuits
Particularly useful when input and output voltages are wide apart (e.g. 48 V to 400 V)

## Slide 18: Low-power transformers – e.g. Instrument transformers
EE 240, Spring 2024 – Introduction to Transformers
For sensing (ac) voltages and currents
Image Source: www. instrumentationtools.com
Image Source: Wikipedia
CTs used for 3-ph. 400 A supply

## Slide 19: Low-power transformers – e.g. Impedance matching
EE 240, Spring 2024 – Introduction to Transformers
What is “impedance matching”?
Why do impedance matching?
  - Maximum power transfer to load
Image Source: www.powersystemsdesign.com
e.g., used in audio amplifiers to match amplifier output resistance with (reflected) resistance of load (speaker)
Image Source: Hammond 14x series audio transformer datasheet.

## Slide 20: Other types of transformers – Isolation transformers
EE 240, Spring 2024 – Introduction to Transformers
1:1 (no step-up or step-down)
  - Why use it?
Image Source: Wikipedia

## Slide 21: Other types of transformers – Isolation transformers
EE 240, Spring 2024 – Introduction to Transformers
For prevention of electrical shocks
Image Source: peacosupport.com
1:1 (no step-up or step-down)
  - Why use it?
Image Source: Wikipedia

## Slide 22: Other types of transformers – Isolation transformers
EE 240, Spring 2024 – Introduction to Transformers
For protection of equipment from “common-mode” noise/surge voltages
Image Source: “Isolation Transformers and Surge Protection,” Technical note TNCR0016.

## Slide 23: Other types of transformers – “Auto”transformer (Variac)
EE 240, Spring 2024 – Introduction to Transformers
No isolation between input and output ports (only one winding)
Allows continuous variation of voltage from a fixed ac voltage supply
Power transferred both inductively (as in a classical transformer) and conductively
Image Source: Denko
Image Source: “Variac Supply Teardown”, Youtube

## Slide 24: Other types of transformer - Air-core transformer
EE 240, Spring 2024 – Introduction to Transformers
Generally operate at even higher frequency (exceeding MHz->RF range)
Image Source: www.miracle.net
Wireless power transfer coils

## Slide 25: Future advances in transformer technology
EE 240, Spring 2024 – Introduction to Transformers
“Planar” transformers
Image Source: terratel.eu

## Slide 26: Future advances in transformer technology
EE 240, Spring 2024 – Introduction to Transformers
“Planar” transformers
Image Source: terratel.eu
Low profile
Better thermal performance
Repeatable value of parasitic resistance, inductance, capacitance
Automated manufacturing
Image Source: Park et. al, TTE 2021.

## Slide 27: Future advances in transformer technology
EE 240, Spring 2024 – Introduction to Transformers
Image Source: Dong Dong et. al, “A Modular SiC High-frequency Solid-state Transformer”
“Electronic”/ “Solid-state” transformers
Smaller than 50 Hz transformer
Allow frequency, reactive power, voltage amplitude control
Allows integration of renewable energy sources and energy storage elements (battery)

## Slide 28: Today’s experiment – Equivalent Circuit Parameters
EE 240, Spring 2024 – Introduction to Transformers
How to get the equivalent circuit parameters?
Open Circuit Test
Short Circuit Test

## Slide 29: Parallel parameters (OC Test)
EE 240, Spring 2024 – Introduction to Transformers
Equivalent circuit & phasor diagram at no-load
Circuit diagram for no-load test
Performed at rated voltage.
Generally HV winding is kept open & rated voltage is applied at the LV winding (why?)

## Slide 30: Series Parameters (SC Test)
EE 240, Spring 2024 – Introduction to Transformers
Equivalent circuit diagram on short circuit
Circuit diagram for full load test
LV terminals are shorted (why?)
HV side voltage is gradually applied till the rated current flows in the winding.

## Slide 31: Efficiency & Voltage Regulation
EE 240, Spring 2024 – Introduction to Transformers
Equivalent circuit diagram to determine regulation

## Slide 32: References
[1] “The History of the Transformer,” https://edisontechcenter.org/Transformers.html.
[2] “The (Shocking) History & Physics of Electric Transformers,” https://kathylovesphysics.com/the-shocking-history-physics-of-electric-transformers/.
[3] "The War of the Currents: AC vs. DC Power," https://www.energy.gov/articles/war-currents-ac-vs-dc-power#:~:text=During%20the%20early%20years%20of,the%20solution%20to%20this%20problem.
[4] “Isolation Transformers and Surge Protection,” Technical note TNCR0016.
[5] “Isolation Transformers can save your life, and your equipment.” Youtube. https://www.youtube.com/watch?v=3rvEdHyAd2k
[6] “Variac supply Teardown – How it Works?” Youtube. https://www.youtube.com/shorts/QJPEScMgbpc
EE 240, Spring 2024 – Introduction to Transformers